## Setup
COMPONENT | STELLANTIS_EIP_CX_CONVEYOR_BOX_SxxCXBy
TYPE | Conveyor Box
NAME | SxxCXBy
ENET_NODE_IO | ENET_STAT_1stSYS_ID[126]
ENET_NODE_HMI | ENET_STAT_1stSYS_ID[30]
ENET_PORT | SxxESWy:17
RUN_STOP_2_EXISTS | TRUE
LIGHT_SCREEN_EXISTS | TRUE
LIGHT_SCREEN_TEXT | ZZX LT SCRN

## Pre-Validation
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify module name in I/O Configuration: {NAME}
FALSE | 15 | 2 | FALSE | {TYPE} | {NAME} | Verify panel I/O ethernet node tag: {ENET_NODE_IO}
FALSE | 15 | 2 | FALSE | {TYPE} | {NAME} | Verify HMI ethernet node tag: {ENET_NODE_HMI}
TRUE | 15 | 2 | FALSE | {TYPE} | {NAME} | Verify ethernet switch connection: {ENET_PORT}

## Communications
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify standard communication status is ok.
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify safety communication status is ok.

## Safeties
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of E-Stop button and light.
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of gate switch.
{LIGHT_SCREEN_EXISTS} | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of light screen {LIGHT_SCREEN_TEXT}.
TRUE | 15 | 2 | FALSE | {TYPE} | {NAME} | Verify operation of enable pendant.
{LIGHT_SCREEN_EXISTS} | 25 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of light screen reset button and light.

## Automatic
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of unload part in position light.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of load part in position light.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of unload end master stop PB.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of conveyor run/stop 1 PB.
{RUN_STOP_2_EXISTS} | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of conveyor run/stop 2 PB.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of team leader call switch.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of no material call switch.

## Diagnostics
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of conveyor master stop stack light.
TRUE | 25 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when E-Stop is pressed.
TRUE | 25 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when Gate is opened.
{LIGHT_SCREEN_EXISTS} | 25 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when Light Screen is tripped.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when ethernet cord is pulled.
TRUE | 105 | 2 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when inconsistent inputs are induced on E-Stop PB.
TRUE | 105 | 2 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when inconsistent inputs are induced on gate switch.
{LIGHT_SCREEN_EXISTS} | 105 | 2 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when inconsistent inputs are induced on light screen.
TRUE | 105 | 2 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when inconsistent inputs are induced on enabling pendant.