## Setup
COMPONENT | STELLANTIS_EIP_DIST_PANEL_Sxx_SyyPDPz
TYPE | PDP
NAME | Sxx_SyyPDPz
ENET_NODE | ENET_STAT_1stSYS_ID[999]
ENET_PORT | SxxESWy:17
PM_EXISTS | TRUE
PM_ENET_NODE | ENET_STAT_1stSYS_ID[999]
PM_ENET_PORT | SxxESWy:18

## Pre-Validation
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify module name in I/O Configuration: {NAME}
FALSE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify panel IO ethernet node mapped tag: {ENET_NODE}
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify panel IO ethernet switch port connection: {ENET_PORT}
FALSE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify power meter ethernet node mapped tag: {PM_ENET_NODE}
{PM_EXISTS} | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify power meter ethernet switch port connection: {PM_ENET_PORT}

## Communications
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify panel I/O communication status is ok.
{PM_EXISTS} | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify power meter communication status is ok.

## Diagnostics
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when panel IO ethernet cord is pulled.
{PM_EXISTS} | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when power meter ethernet cord is pulled.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when main disconnect is turned off.
TRUE | 55 | 5 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when each circuit breaker is tripped.