## Setup
COMPONENT | STELLANTIS_EIP_XF_TRANSFER_BOX_SxxXFyXFBz
TYPE | XF Transfer Box
NAME | SxxXFyXFBz
ENET_NODE | ENET_STAT_1stSYS_ID[126]
ENET_PORT | SxxESWy:17
REMOTE_RESET_EXISTS | TRUE
REMOTE_RESET_TEXT | YXX-YXX ZONE RESET

## Pre-Validation
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify module name in I/O Configuration: {NAME}
FALSE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify ethernet node mapped tag: {ENET_NODE}
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify ethernet switch port connection: {ENET_PORT}

## Safeties
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of E-Stop button and light.
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of light screen.
{REMOTE_RESET_EXISTS} | 25 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of {REMOTE_RESET_TEXT} button and light.

## Communications
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify panel I/O standard communication status is ok.
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify panel I/O safety communication status is ok.

## Automatic
TRUE | 55 | 2 | FALSE | {TYPE} | {NAME} | Verify operation of unload end master stop.
TRUE | 55 | 2 | FALSE | {TYPE} | {NAME} | Verify operation of load end master stop.
TRUE | 55 | 2 | FALSE | {TYPE} | {NAME} | Verify operation of conveyor run/stop 1.
TRUE | 55 | 5 | FALSE | {TYPE} | {NAME} | Verify operation of conveyor run/stop 2.

## Diagnostics
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when light screen is tripped.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when ethernet cord is pulled.
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when each circuit breaker is tripped.
TRUE | 105 | 2 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when inconsistent inputs are induced on light screen.