## Setup
COMPONENT | STELLANTIS_EIP_ZONE_POWER_Sxx_SyyPSBy
TYPE | Power Supply Box
NAME | Sxx_SyyPSBy
ENET_NODE | ENET_STAT_1stSYS_ID[126]
ENET_PORT | SxxESWy:17
STACK_LIGHT_1_EXISTS | TRUE
STACK_LIGHT_2_EXISTS | TRUE
STACK_LIGHT_3_EXISTS | TRUE
STACK_LIGHT_4_EXISTS | TRUE

## Pre-Validation
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify module name in I/O Configuration: {NAME}
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify module is configured as a 2 Zone PSB.
FALSE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify ethernet node tag: {ENET_NODE}
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify ethernet switch connection: {ENET_PORT}

## Communications
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify standard communication status is ok.
TRUE | 15 | 1 | FALSE | {TYPE} | {NAME} | Verify safety communication status is ok.

## Safeties
TRUE | 115 | 5 | FALSE | {TYPE} | {NAME} | Verify master relays are disabled when a gate or guard is not ok.
TRUE | 125 | 5 | FALSE | {TYPE} | {NAME} | Verify master relays are enabled when cell is reset and all gates/guards are ok.

## Automatic
{STACK_LIGHT_1_EXISTS} | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of stack light 1.
{STACK_LIGHT_2_EXISTS} | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of stack light 2.
{STACK_LIGHT_3_EXISTS} | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of stack light 3.
{STACK_LIGHT_4_EXISTS} | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify operation of stack light 4.

## Diagnostics
TRUE | 55 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when ethernet cord is pulled.
TRUE | 55 | 5 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when each circuit breaker is tripped.
TRUE | 105 | 1 | FALSE | {TYPE} | {NAME} | Verify correct message and indicators on HMI when master relays are in wrong state.